## Cooling system for Medical Imaging

- Remove up to 5 kW

- Temperature stability +/- n°C

- Temperature setpoint:

- Working fluid: Water

- Operating conditions (at what temperatures is the thing operated and “where” is it)

  - Device temperature should not exceed 50°C